## Slide 1: Influence of ENG electrode characteristics on signal quality - User Instructions
By Varvara Tebieva
Supervisor: Anne Vanhoestenberghe
Github link:
https://github.com/Zavarochka/The-influence-of-ENG-electrode-characteristics-on-signal-quality

## Slide 2: About this Guide
This guide provides a step-by-step walkthrough of the installation, troubleshooting, and analysis procedures used in the dissertation. Its aim is to help future users reproduce the workflow and extend it.
The project applied ASCENT, which combines finite element modelling (COMSOL) with axon simulations (NEURON), to explore whether physiologically plausible spontaneous neural activity can be simulated in silico.

## Slide 3: Covered in this guide:
ASCENT setup
Reproduced figure from Peña et al.
Explored research question with further analyses
Main debugging steps applied

## Slide 4: Contents page
Configuration ........................................................ 4
Tutorial notes ........................................................ 5
Shell commands ................................................... 6
Debugging for macOS ......................................... 9
Tutorial results ...................................................... 15
Replicating Peña et al. ......................................... 16
Parameter setup ................................................... 19
Parameter locations ............................................. 20
Cuff library .............................................................. 28
CAPulator ................................................................ 30
Contact info ............................................................ 35

## Slide 5: Configurations Used:
Name | Version Number
macOS (8-core GPU ¦ 8GB RAM) | 15.4.1
Conda | 25.5.1
Python | 3.11.13
NEURON | 8.2.4
COMSOL Multiphysics | 6.2
Java SE Developer Kit | 11.0.28
Table 1: Configurations used in the project

## Slide 6: Tutorial notes
ASCENT tutorial can be accessed through this link: https://wmglab-duke-ascent.readthedocs.io/en/latest/Getting_Started.html
On KCL Windows PCs: KCL no longer provides a Java license. Alternatives are available via IT services.
Refer to the following link for more details: JAVA license KCL update
These should work in theory, but some function calls may behave differently.
Windows setup was not tested in this project.
Notes: https://internal.kcl.ac.uk/news/News-Article?id=2310b69c-04ae-49f5-9b26-be7e558c13a9#id_token=eyJ0eXAiOiJKV1QiLCJhbGciOiJSUzI1NiIsIng1dCI6InJDNzQ5WEZQaWtvdXhERW54VkYwNW9kVTJXRSIsImtpZCI6InJDNzQ5WEZQaWtvdXhERW54VkYwNW9kVTJXRSJ9.eyJpc3MiOiJodHRwczovL2Ntcy1rY2wuY2xvdWQuY29udGVuc2lzLmNvbS9hdXRoZW50aWNhdGUiLCJhdWQiOiJXZWJzaXRlQWRmc0NsaWVudCIsImV4cCI6MTc1Nzc3OTQ3MSwibmJmIjoxNzU3Nzc5MTcxLCJub25jZSI6IjI5NzU3MDE1YTg4NDQzZjI4NjdjMzcyZWQxNzA0MmZkIiwiaWF0IjoxNzU3Nzc5MTcxLCJzaWQiOiJlMmQ5NzRmNTQxZTcxYzZlYmQxNjc0MzBjYzFiY2Q1YSIsInN1YiI6ImVjMDBkYTdlLTBhNzgtNGU1Ni1hMTFiLWU3ZmE0ZDA0NTY1YSIsImF1dGhfdGltZSI6MTc1Nzc3OTE3MSwiaWRwIjoiaWRzcnYiLCJhbXIiOlsicGFzc3dvcmQiXX0.Mm1VBA8JEUO3RDqnR_RVLa3HYA_iTWCMe9aO5TWB9eTliu6OMWWd7UBSHeaiwVvDIkMs9WB4SkjGmTBVg6MR0AvKN6P9IMGE1ZqKuYq0RgwoLgXST7SmVRbENApi2sXTU0gjHusz0jeY3uOeQ3cn_cwoKUGSRebEjeFSAz3NCFZMYSFEEWwmNMeZuqi_1WNlh06O9o9ksjV2AXgBTMOjFUYwVCO223-PTvFWKJHH--LKq67p0cNHjPEQP1pm1KKNHdr8gOlR9m3WQ3H8zXEf4E0uD2PgW31_qM8oXZVCWV3jSStIfr0_w4EHcHa1ji4A6IbHPElmZjIzERDpPRjjYw&scope=openid&state=52b7f719b01f4749963a9882e1b3d7b2&session_state=ogs6o_LH2A2MpgsVQD6bvvC-4IHbPR_GEqChZOtQfCY.2a9ac1a8813c1e6cc448c17764145880

## Slide 7: Getting started with shell commands
In this tutorial you need to use shell commands.
The shell is the program that interprets text commands for your computer.
On macOS this is accessed through Terminal, while on Windows you can use PowerShell or Git Bash.
Via these tools you can navigate directories, manage files, check software versions, and run scripts.

## Slide 8: Shell commands used in project
Command | Purpose
pwd | Show current directory
ls | List files/folders
cd <folder> | Change directory
cd .. | Move up one directory
mkdir <name> | Create a new folder
rm <file> | Delete a file
python --version / python3 --version | Check Python version
conda --version | Check Conda version
java --version | Check Java version
neuron --version | Check NEURON version
git clone <repo-url> | Clone a GitHub repository
Table 2: Frequently used shell commands

## Slide 9: Warp
I highly recommend using Warp (available for macOS and Windows) in this project:
  Gives better control over shell
  Has an inbuild AI tool that can help with debugging (came in very useful in the debugging stages, especially in areas with low expertise)
Link to read/download Warp: https://www.warp.dev/

## Slide 10: Debugging steps for macOS ASCENT pt1:
1) Choose your download location and run the command:
cd /path/to/where/you/want/ascent
(use pwd command to confirm where you are)
2) For quick download from the terminal use
git clone https://github.com/wmglab-duke/ascent.git
3) If this step fails (can’t login/denied access), download zip file into chosen directory (see image to the right)
Figure 1: Github download guide

## Slide 11: Debugging steps for macOS ASCENT pt2:
3) running python run install will create a new conda environment
4) check that you are located in that conda environment by running this command (marked by *), before installing python
conda info –envs
If located in the wrong one, run:
conda activate <env-name>
Figure 2: Environment list example

## Slide 12: Debugging steps for macOS ASCENT pt3:
Failure during the python run submit.py 0
When running the ASCENT tutorial on newer macOS systems, several problems can appear. Most of these come from how NEURON is installed and how the compilers are set up.
The errors show up as missing outputs, failed MOD file compilations, or missing library files. The steps below explain each issue, why it happens, and the quick fix with the command you need to run.

## Slide 13: Debugging steps for macOS ASCENT pt4:
MOD files not compiling (clang: No such file or directory)
Error message: …/_build_env/bin/clang: No such file or directory
Why: NEURON was built against clang, but the required compiler wasn’t available.
Step: Install missing compilers (system + conda).
Commands:
  xcode-select --install
  conda install -c conda-forge clang llvm-openmp -y

## Slide 14: Debugging steps for macOS ASCENT pt5:
NEURON compiled with wrong/default compiler
Error message: … Error in compiling of NEURON files. Exiting...
Why: nrnivmodl defaults to system compilers, which mismatched Conda’s NEURON build.
Step: Force compilation with explicit clang paths.
Command:
  cd MOD_Files && CC=clang CXX=clang++ nrnivmodl

## Slide 15: Debugging steps for macOS ASCENT pt6:
libnrnmech.dylib not found during simulation
Error message (from the log files): dyld[36737]: Library not loaded: @rpath/libnrnmech.dylib
Why: ASCENT expected compiled NEURON libraries (special, libnrnmech.dylib) in each sim folder.
Step: Manually copy compiled files into the simulation folder.
Commands:
  cp MOD_Files/x86_64/special out/n_sims/0_0_0_0/
  cp MOD_Files/x86_64/libnrnmech.dylib out/n_sims/0_0_0_0/

## Slide 16: Tutorial results
During the tutorial, an activation threshold heatmap is generated, shown in Figure 3 (different from the tutorial website’s image)
The first threshold value is: -0.027281 mA (if using COMSOL 6.2)
Figure 3: Activation threshold heatmap generated by following the tutorial

## Slide 17: Replicating Peña’s Figure
What the Figure Shows: Figure 4 from Peña et al. (2024) comparing two methods for modelling CNAPs in the rat cervical vagus nerve:
Brute force: simulates each fibre individually (accurate but very slow).
Interpolated templates: uses 193 pre-computed fibre templates to represent all 1,676 fibres (much faster).
Link to the paper: https://journals.plos.org/ploscompbiol/article?id=10.1371/journal.pcbi.1011833
Figure 4: Original figure from Peña’s paper

## Slide 18: Steps to Replicate Myelinated fibre graph
Download the dataset: https://research.repository.duke.edu/concern/datasets/qb98mg49w?locale=en
The dataset will include all the needed json files in the ASCENT folder, but double check all the parameters were set correctly. The next couple of slides will guide through where each value is located.

## Slide 19: Choose the correct run/sim file to simulate
It has the important parameter set up for generating myelinated fibres specifically (set in mode)
Executing the 2022100409.json run file will ultimately lead to executing the sims file with the same name

## Slide 20: Parameters to check
Table 3: parameters set up in Pena’s paper

## Slide 21: Conduction distance variable location
Compare the z location of the cuff with index 0, to the cuff with index 1 to get conduction distance in um

## Slide 22: Perineurium variable location
Variable stored in value

## Slide 23: Endoneurium variable location
Variables set in conductivities, with actual values set in material.json file
Radial (stored in sigma_x and sigma_y)
Longitudinal (stored in sigma_z)

## Slide 24: Surrounding medium variable location
Stored in value

## Slide 25: Recording electrode cuff length
In params section the length is stored in expression

## Slide 26: Contact insulator conductivity variable location
Stored in value

## Slide 27: Contact conductivity variable location
Stored in value

## Slide 28: Cuff opening (in degrees) variable location
Stored in expression, 360 means there is 0 degrees opening, if you want to have 16 degree opening, change to 344
Stored in Tube_theta, leads to new variable

## Slide 29: Cuff library variables
This is a link to the cuff library, it contains all the variable names used in the project.
Notes: https://wmglab-duke-ascent.readthedocs.io/en/latest/Primitives_and_Cuffs/Cuff_Primitives.html#library-of-part-primitives-for-electrode-contacts-and-cuffs

## Slide 30: The next steps for reproducing Pena’s graph
Execute the following commands:
  python run pipeline 2022100409
  python submit.py 20221004 (if macOS user, please follow the same debugging structure as described for the tutorial)
Move onto modelling neural recordings (more details here)
  python examples/analysis/generate_templates.py
This will generate the templates to be used in plotting the figure
Notes: https://wmglab-duke-ascent.readthedocs.io/en/latest/Modeling_Neural_Recording.html

## Slide 31: CAPulator pt1.
ASCENT leads the user to the following repository to complete neural recording simulation: CAPulator Github
Follow these steps to generate the figure:
  Download the CAPulator repository onto the laptop/PC
  Replace (if exists) or add (if absent), the template_data_20221004_0_2022100409.mat, file that was previously generated during the template generation
From
To
Notes: https://github.com/eurypt/CAPulator

## Slide 32: CAPulator pt2.
Make sure that the bin/template_data_20221004_0_2022100410.mat file that was generated by Pena is also in the bin folder.
cd into the src directory and run the RUN_simulate_CAP.m script.

## Slide 33: CAPulator pt3.
RUN_simulate_CAP.m script will generate all the figures from the paper, but if you wish to generate just the one discussed in these instructions, set the 1st and the 4th functions to 1, 0 the rest in the mat file.

## Slide 34: CAPulator pt4.
Running the script will produce a figure, it looks slightly different to the one in Pena’s paper, but this may be attributed to newer COMSOL and Neuron versions used.

## Slide 35: Important note about Recording Sensitivity Function
The file named RUN_CNAP_20221004_ASCENT_myel contains the fibre diameter values used in templates, the fibre diameter values to be simulated in the run and most importantly the extracellular_recording_model_filename:"../bin/default_volume_conductor_potentials.mat”
This ../bin/default_volume_conductor_potentials.mat contains the recordings from the volume conductor model that will be used to calculate therecording sensitivity function for the final graph.
In order to explore the way the geometry of the recording electrode affects the simulated neural recording, those volume conductor potentials need to be extracted each time a change is made. Currently, there is no clear way to extract that data, so please come in contact with the Pena and ASCENT team to discuss this question.

## Slide 36: Contact information
KCL
  Varvara Tebieva - var.tebieva@gmail.com
  Anne Vanhoestenberghe - a.vanhoest@kcl.ac.uk
Duke University (ASCENT developers)
  Warren M Grill - warren.grill@duke.edu
  Nikki Pelot - nikki.pelot@duke.edu